EXP: Buckling of Slender Members

1. calibrate the LVDT, plot the calibration data and the fitting line. Mark the sensitivity in the plot.
Bonus: what is the operation principle inside the LVDT.
2.Plot the measured load-displacement curve, be sure to zero the start point. Mark the buckling load in the plot.
3. calculate the theoretical critical loads. Compare to the experiment results and discuss.

Bonus: if you are interested in certain part in this exp. and you have done some deeper study or research, please write it down.

Bonus: what do you feel about this exp.?
